## Index
IN-GROUND GRAVITY DESIGN
Index & Title Page
Project Name:
Owner's Name:
Owner's Address:
Site Address:
Legal Description: |  |  | ¼, | ¼, | Sec. |  | , T |  | N, R | E
City, Village, Town:
County:
Subd. or CSM:
Lot Number: | [6 empty] | Block Number:
Parcel I.D. Number:
Index
| Page 1 | Index & Title Page
| Page 2 | Site Plan
| Page 3 | Calculations
| Page 4 | Soil Absorption System Detail
| Page 5 | Septic Tank Detail
| Page 6 | Owners Manual & Management Plan
Page 7
Page 8
Page 9
Page 10
Component Manual(s): | [7 empty] | #
#
Designer: | [5 empty] | License Number:
Date: | [5 empty] | Phone Number:
Signature:

## Site Plan
Site Plan
Project Name: | Scale:

## IGG Calcs
In-Ground Gravity Calculations
Project Name:
Design Parameters
Residential (R) or Commercial (C)
Number of Bedrooms [ ] N/A
gpd | Estimated Wastewater Flow from Bedrooms
gpd | Estimated Wastewater Flow from Table 1 [ ] N/A
X 1.5 | Peak Flow Factor
gpd | Design Wastewater Flow (DWF)
Standard (S) or Pretreated (P) Effluent Quality
SAS Calculations Cell(s) #_____________ |  |  |  |  | SAS Calculations Cell(s) #_____________
ft | Ground Elevation (GE) |  |  |  | ft | Ground Elevation (GE)
ft | Infiltrative Surface Elev (IS) |  |  |  | ft | Infiltrative Surface Elev (IS)
ft | GE - IS = Sysytem Depth |  |  |  | ft | GE - IS = Sysytem Depth
in | (GE - IS)X12 = System Depth |  |  |  | in | (GE - IS)X12 = System Depth
in | + 36 in Treatment Zone |  |  |  | in | + 36 in Treatment Zone
in | Depth to Limiting Factor |  |  |  | in | Depth to Limiting Factor
| Max Soil App Rate (gal/sq ft/day) |  |  |  |  | Max Soil App Rate (gal/sq ft/day)
| Design Rate (gal/sq ft/day) |  |  |  |  | Design Rate (gal/sq ft/day)
sqft | Area (DWF/Soil App Rate) |  |  |  | sqft | Area (DWF/Soil App Rate)
Aggregate & Pipe Cell Data |  |  | [ ] N/A |  | Leaching Chamber Data |  |  | [ ] N/A
ft | Cell Width | [5 empty] | Manufacturer
ft | Cell Length | [5 empty] | Model
sqft | Area per Cell |  |  |  | sqft | EISA* per Chamber
| Number of Dispersal Cells |  |  |  |  | Total Number of Chambers
sqft | Total Area |  |  |  | sqft | Total EISA
*Equivalent Infiltrative Soil Area
Distribution Network Data |  |  |  |  | Septic Tank Data
ft | Conveyance Pipe Length |  |  |  | gal | Design Tank Volume
| Header (H) or Dist Box (D) |  |  |  | ft | Inlet Elevation
ft | Header or D. Box Inlet Elevation |  |  |  | ft | Outlet Elevation
in/ft | Conveyance Pipe Pitch |  |  |  | ft | Tank Cover Elevation
ft | Lateral Elevation |  |  |  | ft | Tank Base Elevation
[5 empty] | ft | Burial Depth
Building Sewer Data
ft | Sewer Length
ft | Sewer Elevation at Wall
in/ft | Sewer Pipe Pitch
Table 1 - Public Facility Wastewater Flows [ ] N/A
Source |  | # Units | gpd/unit | Sub total
Total estimated wastewater flow (gpd)

## SAS Detail 1
Soil Absorption System Detail
Project Name:
Plan View
|  | No. of Cells | [5 empty] | Number of Laterals |  |  | Header (Y or N)
| ft | Cell Width |  |  |  |  | ft | Lateral Spacing |  | ft | Header Length
| ft | Cell Length |  |  |  |  | ft | Lateral Length |  | in | Header Diameter
| ft | Cell Spacing |  |  |  |  | in | Lateral Diameter |  |  | Dist Box (Y or N)
Dist Box Make/Model:
Typical Cross Section
Vent Cap
|  |  | Finished Grade |  | ft
PVC Vent Pipe
|  |  | Lateral Elevation |  | ft
Soil Backfill
|  |  | in | a | [6 empty] | Geotextile Fabric
|  |  | in | b | [6 empty] | Perforated Lateral
|  |  | in | c | [5 empty] | in | Aggregate Diameter
|  |  | in | d |  |  |  |  | ¼" Slots or Perforations
[10 empty] | ft | Infiltrative Surface
|  |  | in | e | [5 empty] | ft | Limiting Factor
a
b
c
d
e

## SAS Detail 2
Soil Absorption System Detail
Project Name:
Plan View
|  | No. of Cells | [5 empty] | Chambers per Cell |  |  | Header (Y or N)
| ft | Cell Width | [5 empty] | Total No. of Chambers |  | ft | Header Length
| ft | Cell Length |  |  |  |  | sqft | EISA Per Cell |  | in | Header Diameter
| ft | Cell Spacing |  |  |  |  | sqft | Total EISA |  |  | Dist Box (Y or N)
Leaching Chamber Manufacturer:
Leaching Chamber Model:
Distribution Box Make/Model:
Typical Cross Section
|  |  | Finished Grade |  | ft |  |  |  | Vent Cap
|  |  | Inlet Elevation |  | ft | [5 empty] | PVC Vent Pipe
|  |  | in | a |  |  |  |  | Soil Backfill
[10 empty] | ft | Infiltrative Surface
|  |  | in | b
[10 empty] | ft | Limiting Factor
|  |  | in | c
a
b
c

## ST Detail 1
Septic Tank Detail
Project Name:
Tank Manufacturer:
Tank Model:
Tank Volume: |  |  | gal
Effluent Filter Manufacturer:
Effluent Filter Model:
ft | Inlet Elevation |  |  |  | Outlet Elevation | ft
|  |  | Finished Grade | ft
Manholes w/locking devices
|  | ft | Base Elevation
Scum Layer
Sludge Layer
Clear Space
Baffle
Effluent Filter

## ST Detail 2
Septic Tank Detail
Project Name:
Tank Manufacturer:
Tank Model:
Tank Volume: |  | 1st Chamber | gal |  | 2nd Chamber | gal | Total | gal
Effluent Filter Manufacturer:
Effluent Filter Model:
ft | Inlet Elevation | [5 empty] | Outlet Elevation | ft
|  |  |  | Finished Grade | ft
Manholes w/locking devices
|  |  | ft | Base Elevation
Scum Layer
Sludge Layer
Clear Space
Clean outs
Baffles
Effluent Filter